## Cover
Towards climate neutral and resilient energy networks across Europe
advice on draft scenarios under the EU regulation on trans-European energy networks
June, 2024
This file provides the data and sources underpinning the benchmarking exercise in the main report, as well as supplementary material

## Main Benchmarking table
| Indicator Type | Relative Change | Absolute value
| Formula | (Benchmark % change / scenario % change) | (Scenario indicator value / benchmark indicator value)
| The TYNDP indicator is going in the wrong direction / exceeds feasibility thresholds | <0 | Exceeds high feasibility threshold (ESABCC, 2023)
| This TYNDP indicator deviates significantly compared to the benchmark scenarios | ≥2 | >1.5
| The TYNDP indicator deviates somewhat compared to the benchmark scenario | 1.5-2 | 1.25-1.5
| The TYNDP indicator is mostly aligned with the benchmark scenario | 1-1.5 | 1-1.25
| The TYNDP indicator is aligned with the benchmark scenario | ≤1 | Within benchmark range (or within 10% for single value indicators)
Indicator | Sources and notes | Benchmarking method (direction if using relative change) | Indicator | Reference (for relative change variables) |  |  | 2030 |  |  |  | 2040 | [5 empty] | 2050
|  |  |  | TYNDP (2019) | ESABCC (2019) | EC (S3) | National Trends+ | ESABCC (low*) | ESABCC (high*) | EC (S3) | National Trends+ | Distributed Energy | Global Ambition | ESABCC (low*) | ESABCC (high*) | EC (S3) | National Trends+ | Distributed Energy | Global Ambition | ESABCC (low*) | ESABCC (high*) | EC (S3)
Electrification | Note: Electricity share of final energy based on different scopes between ESABCC and EC: ESABCC - TYNDP: Electricity share of Final Energy Demand (calculated from Figure 5) - ESABCC: Variable: Final Energy¦Electrification¦Share. Note that the ESABCC's final energy scope is similar to the scope shown in Figure 5, including feedstocks (non-energy use), heat and international transport. European Commission - TYNDP: Electricity share of final energy consumption (Figure 41) - EC: Electricity share of final energy consumption (Annex 8, Figure 32). The scope presented in this figure is more similar to that shown in Figure 41, although there is uncertainty about whether ambient heat is included here. It should be noted that alternative values for electrification are provided in Table 10 of the EC's 2040 Impact Assessment, with higher electrification rates than those calculated from the electricity share of final energy consumption. Using the electrification rates given in Table 10 would give higher electrification rates for EC S3 than shown here. | Relative change (+) | Indicator value (FED) (%) | 20.38% | 19.76% | - | 28.68% | 29.44% | 29.72% |  | 35.64% | 40.01% | 33.17% | 49.61% | 53.63% |  |  | 48.8% | 40.09% | 60.7% | 62.95%
|  |  | Indicator value (FEC) (%) | 21.76% | - | 21.76% | 33.47% |  |  | 31.46% | 41.79% | 46.11% | 37.7% |  |  | 47.45% |  | 57.68% | 46.72% |  |  | 57.29%
|  |  | % change compared to reference value (ESABCC) | - | - | - | 8.297% | 9.671% | 9.957% |  | 15.25% | 19.62% | 12.79% | 29.85% | 33.87% |  |  | 28.42% | 19.71% | 40.93% | 43.19%
|  |  | % change compared to reference value (EC) | - | - | - | 11.71% |  |  | 9.694% | 20.03% | 24.35% | 15.94% |  |  | 25.68% |  | 35.91% | 24.96% |  |  | 35.52%
|  |  | Ratio (ESABCC) |  |  |  | 1.1657 |  |  |  | 1.9571 | 1.5212 | 2.3345 |  |  |  |  | 1.4405 | 2.077
|  |  | Ratio (EC) |  |  |  | 0.82805 |  |  |  | 1.2826 | 1.055 | 1.6114 |  |  |  |  | 0.98921 | 1.4233
Final Energy | ESABCC (final energy scope includes international transport & non-energy use) - TYNDP: Final Energy Demand (Figure 5) - ESABCC: Variable: Final Energy. As above, the ESABCC's final energy scope is similar to the scope shown in Figure 5, including feedstocks (non-energy use) and international transport. European Commission. - TYNDP: FEC (Figure 41) - EC: FEC (Figure 32). As above, this is a similar scope shown to Figure 41 | Relative change (-) | Indicator value (ESABCC) (TWh) | 12405.7118 | 12915.3437 | - | 10679.1314 | 10962.1199 | 10912.3976 |  | 9918.0944 | 9412.5866 | 10154.991 | 8025.0342 | 7765.7007 |  |  | 8325.8239 | 9019.4061 | 7508.5616 | 6971.2556
|  |  | Indicator value (EC) (TWh) | 11389.2398 | - | 11389.2398 | 8818.1856 |  |  | 8876.6012 | 8225.7851 | 7881.9613 | 8585.8336 |  |  | 7026.1823 |  | 6816.944 | 7458.4983 |  |  | 6449.5698
|  |  | % change compared to reference value (ESABCC) | - | - | - | -13.92% | -15.12% | -15.51% |  | -20.05% | -24.13% | -18.14% | -37.86% | -39.87% |  |  | -32.89% | -27.3% | -41.86% | -46.02%
|  |  | % change compared to reference value (EC) | - | - | - | -22.57% |  |  | -22.06% | -27.78% | -30.79% | -24.61% |  |  | -38.31% |  | -40.15% | -34.51% |  |  | -43.37%
|  |  | Ratio (ESABCC) |  |  |  | 1.0866 |  |  |  | 1.8883 | 1.5694 | 2.087 |  |  |  |  | 1.2729 | 1.5337
|  |  | Ratio (EC) |  |  |  | 0.97728 |  |  |  | 1.3792 | 1.244 | 1.5563 |  |  |  |  | 1.0803 | 1.2567
Primary energy | TYNDP: Primary Energy Supply / Gross Available Energy (Figure 19). 2019 GAE value from Eurostat energy balances used as reference value for comparability with benchmarks ESABCC: Variable: Primary Energy EC: Gross available energy by vector (Annex 8, Figure 14) | Relative change (-) | Indicator value (TWh) | 17466 | 14447.956 | 17300.4969 | 11792.3632 | 12437.6488 | 12336.5376 | 13496.2259 | 11722.3231 | 10500.2566 | 11306.705 | 9765.48 | 9457.1187 | 11843.8264 |  | 9565.6976 | 10441.2409 | 9872.3135 | 8942.6738 | 11854.5713
|  |  | % change compared to reference value |  |  |  | -32.48% | -13.91% | -14.61% | -21.99% | -32.88% | -39.88% | -35.26% | -32.41% | -34.54% | -31.54% |  | -45.23% | -40.22% | -31.67% | -38.1% | -31.48%
|  |  | Ratio (ESABCC) |  |  |  | 0.44988 |  |  |  | 1 | 0.86615 | 0.97956 |  |  |  |  | 0.84241 | 0.9474
|  |  | Ratio (EC) |  |  |  | 0.67693 |  |  |  | 0.95912 | 0.79085 | 0.8944 |  |  |  |  | 0.69593 | 0.78266
Primary energy: non-biomass renewables | For comparability, non-biomass renewables refers to the sum of wind, solar and hydro in the above sources | Relative change (+) | Indicator value (TWh) | 859.68 | 853.3618 | 859.641 | 2372.5507 | 2549.6965 | 2734.3355 | 2320.3568 | 4119.0259 | 4803.2147 | 4603.7153 | 4654.9759 | 5383.5043 | 4409.3538 |  | 6373.869 | 6118.0417 | 5635.0045 | 6903.45 | 5919.4112
|  |  | % change compared to reference value |  |  |  | 176% | 198.8% | 220.4% | 169.9% | 379.1% | 458.7% | 435.5% | 445.5% | 530.9% | 412.9% |  | 641.4% | 611.7% | 560.3% | 709% | 588.6%
|  |  | Ratio (ESABCC) |  |  |  | 1.1296 |  |  |  | 1.175 | 1 | 1.0229 |  |  |  |  | 1 | 1
|  |  | Ratio (EC) |  |  |  | 0.96557 |  |  |  | 1.0891 | 0.90018 | 0.94814 |  |  |  |  | 0.91763 | 0.96228
Primary energy: fossil | Sum of oil, gas and coal from the above sources | Relative change (-) | Indicator value (TWh) | 12300 | 11280.1757 | 12300.7384 | 6505.9022 | 7433.7004 | 7198.978 | 7714.4502 | 3765.6066 | 2874.6301 | 3322.8418 | 2722.5577 | 2013.2794 | 3202.7525 |  | 641.3408 | 795.7002 | 1088.1675 | 692.8894 | 1748.4544
|  |  | % change compared to reference value |  |  |  | -47.11% | -34.1% | -36.18% | -37.28% | -69.39% | -76.63% | -72.99% | -75.86% | -82.15% | -73.96% |  | -94.79% | -93.53% | -90.35% | -93.86% | -85.79%
|  |  | Ratio (ESABCC) |  |  |  | 0.76805 |  |  |  | 1.0934 | 1 | 1.0394 |  |  |  |  | 0.99021 | 1
|  |  | Ratio (EC) |  |  |  | 0.7915 |  |  |  | 1.066 | 0.96521 | 1.0134 |  |  |  |  | 0.90505 | 0.91719
Wind + Solar Installed Capacity | TYNDP: Power capacity (Figure 25) ESABCC: Installed capacity for solar, onshore and offshore wind (GW) EC: 2030 RePower EU target used for 2030 benchmark based on ESABCC (2023), but no targets/benchmark for 2040 and 2050. EC IA only provides combined renewables capacity (i.e. incl. biomass, geothermal etc.), so these values have not been included for 2040 and 2050. | Absolute values | Indicator value (GW) |  |  |  | 1127.39 | 1266.9323 | 1370.3237 | 1110 | 2143.08 | 2531.9145 | 2471.9004 | 2417.5818 | 2868.6918 |  |  | 3207.1304 | 2881.6332 | 2787.0306 | 3488.1085
|  |  | Challenge level / Target |  |  |  |  | 1523 | 1523 | 1110
|  |  | Ratio (ESABCC) |  |  |  | 0.88986 |  |  |  | 0.88646 | 1 | 1 |  |  |  |  | 1 | 1
|  |  | Ratio (EC) |  |  |  | 1.0157 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  |  | #DIV/0! | #DIV/0!
Carbon Capture, Utilisation & Storage | TYNDP: Figure 39 (CCU for the production of synthethic fuels) & Figure 45 (CCS). For Figure 39, only the capture capacity directly associated with these fuels is counted, rather than the maximum capacity, which would result in higher estimates than shown. As stated in the draft scenarios report, Figure 39 is stated to be additional to Figure 45. EC: Total carbon capture from S3 (Figure 10) ESABCC: Variable: Carbon Capture, Use & Sequestration' | Absolute values | Indicator value (Mt CO2e) |  |  |  | 47.245 | 28.9 | 40.9 | 50.1087 | 344 | 250.3668 | 444.4076 | 169 | 233 | 343.7147 |  | 306.2809 | 547.9795 | 307.55 | 347.9 | 452.2986
|  |  | Feasibility threshold | [17 empty] | 425 | 500
|  |  | Ratio (ESABCC) |  |  |  | 1.1551 |  |  |  | 1.4764 | 1.0745 | 1.9073 |  |  |  |  | 0.99587 | 1.5751
|  |  | Ratio (EC) |  |  |  | 0.94285 |  |  |  | 1.0008 | 0.72841 | 1.293 |  |  |  |  | 0.67717 | 1.2115
Hydrogen demand / supply | TYNDP refers to hydrogen demand (at a sectoral level) interchangeably with hydrogen supply, which includes hydrogen used for transformation inputs. This is different to hydrogen final energy demand, and therefore, comparable benchmarks which also include such transformation inputs are: ESABCC: Variable 'Secondary Energy_Hydrogen' EC: Consumption of hydrogen by sector (2040-2050) (Figure 31). TYNDP: Hydrogen demand by sector (H2) (Figure 10 & Figure 54) | Absolute values | Indicator value (TWh) |  |  |  | 483.4796 | 175.2779 | 196.2224 |  | 1688.1673 | 1750.4329 | 2188.6894 | 446.0281 | 617.3338 | 1077.7732 |  | 2331.8206 | 3114.091 | 791.8895 | 1264.9732 | 2039.5883
|  |  | Ratio (ESABCC) |  |  |  | 2.4639 |  |  |  | 2.7346 | 2.8355 | 3.5454 |  |  |  |  | 1.8434 | 2.4618
|  |  | Ratio (EC) |  |  |  | - |  |  |  | 1.5663 | 1.6241 | 2.0308 |  |  |  |  | 1.1433 | 1.5268
Hydrogen imports | EC: Net imports by energy vector (Figure 15) TYNDP: Hydrogen Supply (Figure 33 - excluding ammonia imports) ESABCC: Generally not available in ESABCC scenarios, with zero or miniscule imports in available scenarios | Absolute values | Indicator value (TWh) |  |  |  | 167.207 |  |  |  | 710.465 | 657.9207 | 823.4799 |  |  | 15.0229 |  | 564.1032 | 981.4021 |  |  | 41.529
Ratio (ESABCC)
|  |  | Ratio (EC) |  |  |  | - |  |  |  | 47.2922 | 43.7946 | 54.8151 |  |  |  |  | 13.5834 | 23.6317
Hydrogen Domestic (Green) Production Capacity | TYNDP: Electrolyser capacity (Figure 34) ESABCC: Variable: Capacity_Hydrogen_Electricity. Feasibility thresholds for 2030 from ESABCC, 2023. EC: Net installed storage and new fuels production capacity, 2015-2050 (Figure 34) | Absolute values | Indicator value (GW) |  |  |  | 103.4 | 50 | 56 | 29.8722 | 306.1 | 278 | 290 |  |  | 301.8588 |  | 517 | 528 |  |  | 536.1866
|  |  | Feasibility threshold |  |  |  |  | 50 | 150
|  |  | Ratio (ESABCC) |  |  |  | 1.8464
|  |  | Ratio (EC) |  |  |  | 3.4614 |  |  |  | 1.0141 | 0.92096 | 0.96071 |  |  |  |  | 0.96422 | 0.98473
Hydrogen: Domestic Green Hydrogen Production | TYNDP: Hydrogen Supply (Figure 33), Power-to-Grid (P2G) ESABCC: Variable: Secondary Energy_Hydrogen_Electricity EC: Table 10 (Summary of key energy indicators) | Absolute values | Indicator value (TWh) |  |  |  | 192.8556 | 91.0279 | 120.3057 | 104.67 | 709.8142 | 959.0033 | 1163.0827 | 291.9169 | 425.667 | 1163 |  | 1795.4779 | 2082.5119 | 529.306 | 883.9452 | 2151.55
|  |  | Ratio (ESABCC) |  |  |  | 1.603 |  |  |  | 1.6675 | 2.2529 | 2.7324 |  |  |  |  | 2.0312 | 2.3559
|  |  | Ratio (EC) |  |  |  | 1.8425 |  |  |  | 0.61033 | 0.82459 | 1.0001 |  |  |  |  | 0.8345 | 0.96791
Hydrogen Production as % of final energy demand (ESABCC Indicator) | Bespoke indicator used in ESABCC, 2023: TYNDP: Calculated as Hydrogen supply divided by total Final Energy (as above, FED scope used for comparability with ESABCC final energy) ESABCC: Variable: Hydrogen production¦Final Energy¦Share | Absolute values | Indicator value (%) |  |  |  | 4.528% | 1.599% | 1.798% |  | 9.536% | 10.77% | 15.76% | 5.558% | 7.738% |  |  | 17.26% | 25.25% | 11.35% | 16.85%
|  |  | % change compared to reference value |  |  |  | 2.5183 |  |  |  | 1.2323 | 1.3918 | 2.037 |  |  |  |  | 1.0243 | 1.4986
Ratio (ESABCC)
*Low and high refer to the lowest and highest ambition levels among the filtered scenarios that achieve 1) at least a 90% reduction in emissions, and 2) are within the environmental risk levels identified in the Advisory Board's 2040 advice.

## Graphs
Fossil and gas power capacity
|  | Coal + Other fossil | Oil | Methane | CHP and Small Thermal | Hydrogen |  | Scenario (EU27 - TWh) | Year | share of renewable CH4 | share of renewable H2 | Methane (renewable) | Hydrogen (renewable) | Methane (non-renewable) | Hydrogen (non-renewable)
National Trends+ | 2030 | 24 | 6 | 171 | 38 | 11 |  | National Trends+ | 2030 | 11.59% | 67.11% | 19.8241 | 7.3822 | 151.1759 | 3.6178
| 2040 | 8 | 2 | 138 | 24 | 46 |  |  | 2040 | 35.91% | 83.85% | 49.5596 | 38.5714 | 88.4404 | 7.4286
Distributed Energy | 2040 | 8 | 1 | 134 | 24 | 46 |  | Distributed Energy | 2040 | 37.18% | 85.97% | 49.8175 | 39.5447 | 84.1825 | 6.4553
| 2050 | 4 | 1 | 106 | 18 | 67 |  |  | 2050 | 99.95% | 95.29% | 105.9476 | 63.8459 | 0 | 3.1541
Global Ambition | 2040 | 8 | 1 | 134 | 24 | 46 |  | Global Ambition | 2040 | 39.8% | 86.23% | 53.3361 | 39.6674 | 80.6639 | 6.3326
| 2050 | 4 | 1 | 106 | 18 | 67 |  |  | 2050 | 100% | 93.6% | 106.0129 | 62.7118 | 0 | 4.2882
|  | Coal, oil + other fossil |  | Methane & Hydrogen (Renewable) | Methane & Hydrogen (non-renewable) | CHP and Small Thermal | Total Fossil
2030 | NT+ | #REF! |  | 27.2063 | 154.7937 | 38 |  |  |  |  | Fossil capacity (incl. fuel switching)
| EC | [5 empty] | 238.4782
2040 | NT+ | #REF! |  | 88.131 | 95.869 | 24
| DE | #REF! |  | 89.3621 | 90.6379 | 24
| GA | #REF! |  | 93.0034 | 86.9966 | 24
| EC | [5 empty] | 156.4148
2050 | DE | #REF! |  | 169.7935 | 3.1541 | 18
| GA | #REF! |  | 168.7247 | 4.2882 | 18
| EC | [5 empty] | 141.9441
Hydrogen Supply
|  | Green Hydrogen (P2G) | Blue (SMR w/ CCS) | Grey (SMR) | Imports | Other
2030 | NT+ | 192.8556 | 104.7638 | 9.1073 | 167.207 | 9.6511
| EC | 104.67
| ESABCC | 120.3057 |  |  |  | 75.9167
2040 | NT+ | 709.8142 | 69.4476 | 24.4648 | 710.465
| DE | 959.0033 | 84.8964 | 22.2994 | 657.9207
| GA | 1163.0827 | 74.9363 | 14.5359 | 823.4799
| EC | 1163 |  |  | 15.0229
| ESABCC | 425.667 |  |  |  | 191.6668
2050 | DE | 1795.4779 | 0 |  | 564.1032
| GA | 2082.5119 | 4.6927 |  | 981.4021
| EC | 2151.55 |  |  | 41.529
| ESABCC | 883.9452 |  |  |  | 381.0281
Electrification
|  | Electrification (FEC) | Electrification (FED) | EC (FEC) | ESABCC (FED) |  | Electrification (FED) | Electrification (FEC) | ESABCC (FED) | EC (FEC)
2030 | NT+ | 33.47% | 28.68% |  |  |  | 28.68% | 4.792%
| Benchmark |  |  | 31.46% | 29.44% |  |  |  | 29.44% | 2.024%
2040 | NT+ | 41.79% | 35.64% |  |  |  | 35.64% | 6.154%
| DE | 46.11% | 40.01% |  |  |  | 40.01% | 6.105%
| GA | 37.7% | 33.17% |  |  |  | 33.17% | 4.535%
| Benchmark |  |  | 47.45% | 49.61% |  |  |  | 49.61% | -2.164%
2050 | DE | 57.68% | 48.8% |  |  |  | 48.8% | 8.877%
| GA | 46.72% | 40.09% |  |  |  | 40.09% | 6.632%
| Benchmark |  |  | 57.29% | 60.7% |  |  |  | 60.7% | -3.407%
Comparison of greenhouse gas budget estimates, 2030-2050
|  | DE | GA
| CO2 | 16394 | 17525.0921
| Non-CO2 | 8198 | 8198.4
| LULUCF | -6320 | -6320.4
| CCS | -2355 | -5800.1425
| Original | 15917 | 13602.9496
| Synthetic fuels |  | 1446.3788
| Minerals | 2026.5 | 2026.5
| Adjusted | 17943.5 | 17075.8284
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.

## Primary Energy
Data from the Draft TYNDP scenario report
Figure 19: Primary energy supply mix, EU27 (TWh)
Total energy supply (gross available energy including international maritime bunkers & international aviation)
EJ
| EU27 - TWh | Historic* | National Trends+ |  | Distributed Energy |  | Global Ambition |  |  | Historic* |  |  |  | Historic* | National Trends+ |  | Distributed Energy |  | Global Ambition
|  | 2022 | 2030 | 2040 | 2040 | 2050 | 2040 | 2050 |  | 2019 | Gross available energy from Eurostat energy balances) |  |  | 2022 | 2030 | 2040 | 2040 | 2050 | 2040 | 2050
| Natural gas**** | 3588.767 | 2977.7942 | 1491.7509 | 1127.302 | 0.38689 | 1223.5952 | 0.015025 | [5 empty] | 12.9196 | 10.7201 | 5.3703 | 4.0583 | 0.0013928 | 4.4049 | 5.409e-05
| Imported H2 green (inc Ammonia) | 0 | 122.031 | 531.732 | 523.1248 | 453 | 627.3267 | 789.7542 | [5 empty] | 0 | 0.43931 | 1.9142 | 1.8832 | 1.6308 | 2.2584 | 2.8431
| Imported H2 low carbon | 0 | 45.176 | 178.733 | 134.7177 | 111 | 196.4185 | 191.5711 | [5 empty] | 0 | 0.16263 | 0.64344 | 0.48498 | 0.3996 | 0.70711 | 0.68966
| Oil | 6015.181 | 3303.6504 | 2029.413 | 1446.6104 | 423.9539 | 1719.9569 | 501.6547 | [5 empty] | 21.6546 | 11.8931 | 7.3059 | 5.2078 | 1.5262 | 6.1918 | 1.806
| Imported biofuels | 81.625 | 0 | 0 | 80.015 | 125 | 59.2158 | 74.2954 | [5 empty] | 0.29385 | 0 | 0 | 0.28805 | 0.45 | 0.21318 | 0.26746
| Undefined hydrogen** | 0 | 9.6511 | 174.1168 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0.034744 | 0.62682 | 0 | 0 | 0 | 0
| Imported synthetic methane | 0 | 7.5 | 15 | 3.695 | 17.2718 | 6.5914 | 15.4615 | [5 empty] | 0 | 0.027 | 0.054 | 0.013302 | 0.062178 | 0.023729 | 0.055661
| Coal | 1884.567 | 179.2816 | 65.7097 | 166 | 106 | 182.8713 | 102.4594 | [5 empty] | 6.7844 | 0.64541 | 0.23655 | 0.5976 | 0.3816 | 0.65834 | 0.36885
| Biomass | 1604.879 | 2021.9444 | 2447.3979 | 1670.123 | 1575.2743 | 1990.3385 | 2005.6677 | [5 empty] | 5.7776 | 7.279 | 8.8106 | 6.0124 | 5.671 | 7.1652 | 7.2204
| Nuclear | 1808.249 | 567.6406 | 522.4439 | 401.5884 | 246.8115 | 552.8836 | 507.9381 | [5 empty] | 6.5097 | 2.0435 | 1.8808 | 1.4457 | 0.88852 | 1.9904 | 1.8286
| Hydro (excl pump storage) | 276.237 | 314.9066 | 314.7367 | 314.5938 | 313.3516 | 314.4765 | 314.6947 | [5 empty] | 0.99445 | 1.1337 | 1.1331 | 1.1325 | 1.1281 | 1.1321 | 1.1329
| Solar | 251.185 | 771.7417 | 1343.8443 | 1583.0449 | 2246.1636 | 1443.7532 | 1907.5571 | [5 empty] | 0.90427 | 2.7783 | 4.8378 | 5.699 | 8.0862 | 5.1975 | 6.8672
| Wind | 421.317 | 1285.9024 | 2460.4449 | 2905.576 | 3814.3538 | 2845.4857 | 3895.79 | [5 empty] | 1.5167 | 4.6292 | 8.8576 | 10.4601 | 13.7317 | 10.2437 | 14.0248
| Other RES*** | 271.221 | 185.1432 | 147 | 143.8655 | 133.1302 | 143.7918 | 134.3822 | [5 empty] | 0.97639 | 0.66651 | 0.5292 | 0.51792 | 0.47927 | 0.51765 | 0.48378
| TOTAL | 16203.228 | 11792.3632 | 11722.3231 | 10500.2566 | 9565.6976 | 11306.705 | 10441.2409 |  | 17466 |  |  |  | 58.3316 | 42.4525 | 42.2003 | 37.8009 | 34.4365 | 40.7041 | 37.5884
| Fossil | 11488.515 | 6505.9022 | 3765.6066 | 2874.6301 | 641.3408 | 3322.8418 | 795.7002 |  | 12300 |  |  |  | 41.3586 | 23.4212 | 13.5562 | 10.3487 | 2.3088 | 11.9622 | 2.8645
| Renewables | 2906.464 | 4701.6693 | 7245.1559 | 7220.343 | 8660.2735 | 7424.3881 | 9122.1411 | [5 empty] | 10.4633 | 16.926 | 26.0825 | 25.9932 | 31.177 | 26.7278 | 32.8397
| Non-bio renewables (ESABCC scope) | 948.739 | 2372.5507 | 4119.0259 | 4803.2147 | 6373.869 | 4603.7153 | 6118.0417 | [5 empty] | 3.4155 | 8.5412 | 14.8285 | 17.2916 | 22.9459 | 16.5734 | 22.0249
| Biomass | 1686.504 | 2021.9444 | 2447.3979 | 1750.1381 | 1700.2743 | 2049.5543 | 2079.963 | [5 empty] | 6.0714 | 7.279 | 8.8106 | 6.3005 | 6.121 | 7.3784 | 7.4879
* Historic data is coming from Eurostat
** The supply of H2 required for Power Generation wasn't explicitly modeled for the National Trends+ scenario. Therefore, it refered as 'undefined', meaning either import or domestic production.
*** Other Res includes Tide,wave, ocean, geothermal & additionally ambient heat for historic datasets
**** Historic value includes non-renewable waste
| EU27 - TWh | Historic | NT+ |  | Distributed Energy |  | Global Ambition
|  | 2015 | 2030 | 2040 | 2040 | 2050 | 2040 | 2050
| Unspecified hydrogen* |  | 9.6511 | 174.1168 | 0 | 0 | 0 | 0
| Off-grid hydrogen production** |  | 51.9857 | 132.9597 | 0 | 0 | 0 | 0
HISTORIC:
https://ec.europa.eu/eurostat/cache/infographs/energy_balances/enbal.html?geo=EU27_2020&unit=GWH&language=EN&year=2022&fuel=fuelMainFuel&siec=TOTAL&details=0&chartOptions=0&stacking=normal&chartBal=NRGSUP&chart=barCart&full=1&chartBalText=&order=DESC&siecs=TOTAL,C0000X0350-0370,C0350-0370,E7000,S2000,G3000,H8000,N900H,O4000XBIO,P1000,RA000,W6100_6220&dataset=nrg_bal_s&decimals=0&agregates=0&fuelList=fuelElectricity,fuelCombustible,fuelNonCombustible,fuelOtherPetroleum,fuelMainPetroleum,fuelOil,fuelOtherFossil,fuelFossil,fuelCoal,fuelMainFuel
Total energy supply (gross available energy including international maritime bunkers and international aviation)
| Ambient Heat | 192.221 | [7 empty] | *EU27 Total Primary energy supply (including international maritime bunkers & international aviation & non-energy use)
| Other non-RES*** | 165.584
| EU27 - TWh | NT+
| SPAIN ADDITIONAL | 2030 | 2040
| Off-grid hydrogen production** | 51.9857 | 132.9597
| Off-grid electricity production | 74 | 189
| solar - 60% | 39 | 100
| wind onshore - 40% | 35 | 89
SPAIN - ENEGAS - NT DRES FIGURES
2030
DRES:
|  | Wind | Solar | Total
| Mix | 40% | 60%
| Hours | 2400 | 1800 | 2040
| Power - GW | 14.56 | 21.83 | 36.4
| Electricity supply - TWh | 35 | 39 | 74
Off-grid electrolysers:
|  | hours | GW
| In | 3500 | 14.8
| Out | 5000 | 10.4
Batteries 7.6 GW
H2 Production 52 TWh (1,56Mt)
2040
DRES:
|  | Wind | Solar | Total
| Mix | 40% | 60%
| Hours | 2400 | 1800 | 2040
| Power - GW | 37.23 | 55.85 | 93.1
| Electricity supply - TWh | 89 | 100 | 190
Off-grid electrolysers:
|  | hours | GW
| In | 3500 | 38
| Out | 5000 | 26.6
Batteries 19.6 GW
H2 Production 133 TWh (3,99Mt)
Data from the Advisory Board's filtered 2040 scenarios
| Variable: Primary Energy (by fuel) | EJ |  |  |  |  | TWh
|  | Total | Fossil | non-bio renewables | Biomass |  | Total | Fossil | non-bio renewables | Biomass
| 2019 | 52.0126 | 40.6086 | 3.0721 | 5.6296 |  | 14447.956 | 11280.1757 | 853.3618 | 1563.779
|  | 52.0126 | 40.6086 | 3.0721 | 5.6296 |  | 14447.956 | 11280.1757 | 853.3618 | 1563.779
| 2030 | 44.4115 | 25.9163 | 9.1789 | 6.7148 |  | 12336.5376 | 7198.978 | 2549.6965 | 1865.2237
|  | 44.7755 | 26.7613 | 9.8436 | 6.8633 |  | 12437.6488 | 7433.7004 | 2734.3355 | 1906.4737
| 2040 | 34.0456 | 7.2478 | 16.7579 | 7.0543 |  | 9457.1187 | 2013.2794 | 4654.9759 | 1959.5293
|  | 35.1557 | 9.8012 | 19.3806 | 7.0785 |  | 9765.48 | 2722.5577 | 5383.5043 | 1966.2516
| 2050 | 32.1936 | 2.4944 | 20.286 | 7.4622 |  | 8942.6738 | 692.8894 | 5635.0045 | 2072.835
|  | 35.5403 | 3.9174 | 24.8524 | 7.4884 |  | 9872.3135 | 1088.1675 | 6903.45 | 2080.1128
Data from the EC's 2040 Impact Assessment
Annex 8, Figure 14: Gross Available Energy by energy vector, 2015-2050
[18 empty] | Mtoe |  |  |  | TWh
|  |  | Biomass | Oil | Geothermal | Hydro | Hydrogen | Gas | Electricity imports | Nuclear | Others | PV | Coal | Wind |  |  |  | Total | Fossil | Non-bio renewables | Biomass | Total | Fossil | Non-bio renewables | Biomass
| 2015 |  | 140.0321 | 531.8563 | 6.5023 | 28.8898 | 0 | 296.082 | -0.57396 | 203.7817 | 1.0408 | 12.4848 | 239.6039 | 22.6315 |  | 0 |  | 1482.3313 | 1067.5422 | 64.0061 | 140.0321 | 17239.5128 | 12415.5162 | 744.3913 | 1628.5731
| 2019 |  | 151.52 | 545.1275 | 6.8982 | 27.5374 | 0 | 335.2001 | 0.2532 | 196.1809 | 1.1337 | 14.812 | 177.3455 | 31.5665 |  | 0 |  | 1487.575 | 1057.6731 | 73.9158 | 151.52 | 17300.4969 | 12300.7384 | 859.641 | 1762.1781
| 2030 |  | 145.4874 | 415.8589 | 14.4491 | 31.8478 | 0.13758 | 157.8089 | -1.6348 | 138.8119 | 0.37732 | 63.214 | 89.6555 | 104.453 |  | 1.6001 |  | 1160.4665 | 663.3233 | 199.5148 | 145.4874 | 13496.2259 | 7714.4502 | 2320.3568 | 1692.0188
| 2040 | S1 | 186.2676 | 214.948 | 21.4259 | 36.3122 | 1.2917 | 144.7613 | -0.29844 | 128.6784 | 0.92809 | 104.6206 | 15.574 | 167.7511 |  | 15.0229 |  | 1022.2604 | 375.2833 | 308.6839 | 186.2676 | 11888.8885 | 4364.5446 | 3589.9939 | 2166.2922
|  | S2 | 209.2619 | 196.5619 | 21.4748 | 36.3278 | 1.2917 | 106.4503 | 0.26842 | 129.0849 | 0.86322 | 112.5058 | 7.9835 | 198.9983 |  | 15.0229 |  | 1021.0724 | 310.9957 | 347.8318 | 209.2619 | 11875.0719 | 3616.8803 | 4045.2839 | 2433.7156
|  | S3 | 208.923 | 186.6049 | 22.6445 | 36.35 | 1.2917 | 82.7584 | 1.0665 | 129.0849 | 0.85176 | 119.7321 | 6.0238 | 223.0541 |  | 15.0229 |  | 1018.3858 | 275.3871 | 379.1362 | 208.923 | 11843.8264 | 3202.7525 | 4409.3538 | 2429.7749
|  | LIFE | 205.9797 | 184.3799 | 21.3539 | 36.3346 | 1.2917 | 101.5796 | 1.5407 | 129.0851 | 0.85452 | 112.3052 | 6.8877 | 192.4369 |  | 15.0229 |  | 994.0296 | 292.8472 | 341.0767 | 205.9797 | 11560.5638 | 3405.8127 | 3966.7225 | 2395.5443
| 2050 | S1 | 195.0252 | 104.8995 | 26.0712 | 37.6217 | 3.5708 | 47.894 | -1.0399 | 141.1466 | 2.9801 | 159.4965 | 2.8849 | 316.0398 |  | 41.529 |  | 1036.5906 | 155.6785 | 513.1581 | 195.0252 | 12055.5481 | 1810.5407 | 5968.0285 | 2268.1426
|  | S2 | 190.2138 | 102.1954 | 26.2286 | 37.6004 | 3.5708 | 50.3824 | -1.2301 | 141.8725 | 2.9782 | 159.1185 | 2.8994 | 315.9054 |  | 41.529 |  | 1031.7353 | 155.4771 | 512.6243 | 190.2138 | 11999.0812 | 1808.199 | 5961.8204 | 2212.1869
|  | S3 | 185.407 | 102.1624 | 27.3351 | 37.5793 | 3.5708 | 45.2646 | -1.4865 | 142.1879 | 2.9775 | 158.6983 | 2.913 | 312.7001 |  | 41.529 |  | 1019.3097 | 150.34 | 508.9777 | 185.407 | 11854.5713 | 1748.4544 | 5919.4112 | 2156.2833
|  | LIFE | 179.7396 | 93.7949 | 25.9034 | 37.5928 | 3.5708 | 52.7714 | -3.7045 | 145.5174 | 2.9744 | 147.2149 | 2.4851 | 278.2417 |  | 41.529 |  | 966.1018 | 149.0514 | 463.0493 | 179.7396 | 11235.7644 | 1733.4676 | 5385.2633 | 2090.3718
Note: Biomass and waste include non-renewable waste. Natural gas includes also manufactured gas.
From Table 10: GAE does not include ambient heat
Source: PRIMES.

## FED
Data from the Draft TYNDP scenario report
Figure 5: Final energy demand per carrier, EU27 (TWh)
|  | Reference | National Trends + |  | Distributed Energy |  | Global Ambition
|  | 2019 | 2030 | 2040 | 2040 | 2050 | 2040 | 2050
| Electricity | 2528.7799 | 3062.8374 | 3534.4085 | 3765.6713 | 4062.9695 | 3368.429 | 3616.0304 | 1.0405
| Hydrogen | 0 | 390.8056 | 945.7466 | 1013.7446 | 1436.7344 | 1600.6994 | 2277.1879 | 1.3395
| Methane | 2700.3833 | 2234.0646 | 1544.0581 | 1348.795 | 782.9461 | 1699.9878 | 983.2371 | 1.2169
| Heat | 634.4799 | 373.424 | 493.2843 | 664.718 | 597.2522 | 606.5541 | 515.805
| Biofuels | 1030.6823 | 780.1817 | 612.7918 | 553.4027 | 412.3608 | 620.7748 | 568.5253
| Solids | 361.3481 | 149.6944 | 47.1645 | 60.8328 | 33.3665 | 89.0691 | 31.9399
| Liquids | 5150.0383 | 3619.7633 | 2650.2243 | 2005.4222 | 1000.1944 | 2169.4767 | 1026.6806 | #DIV/0!
| Others | 0 | 68.3605 | 90.4161 | 0 | 0 | 0 | 0
| Total | 12405.7118 | 10679.1314 | 9918.0944 | 9412.5866 | 8325.8239 | 10154.991 | 9019.4061
| Hydrogen demand (production) - as shown in Figure 10 |  | 483.4796 | 1688.1673 | 1750.4329 | 2331.8206 | 2188.6894 | 3114.091
742.4207
All sectors, including energy sector, non-energy use, international aviation and international shipping
Reference year is excluding international shipping
Reference is from the Energy Transition Model - ETM
Others include geothermal, industrial excess heat, power to gas excess heat and solar
| Electrification % | 20.38% | 28.68% | 35.64% | 40.01% | 48.8% | 33.17% | 40.09%
| Hydrogen % | 0% | 4.528% | 9.536% | 10.77% | 17.26% | 15.76% | 25.25%
Data from the Advisory Board's filtered 2040 scenarios
Variable: Final Energy¦Electrification¦Share
|  | 2019 | 2020 | 2030 | 2035 | 2040 | 2045 | 2050
| Min | 19.7642 | 19.9955 | 29.4352 | 39.0171 | 49.6139 | 57.0689 | 60.6961 | %
| Max | 19.7642 | 19.9955 | 29.7213 | 40.7849 | 53.6339 | 61.3645 | 62.9525 | %
|  | 0.19764 | 0.19995 | 0.29435 | 0.39017 | 0.49614 | 0.57069 | 0.60696 | %
|  | 0.19764 | 0.19995 | 0.29721 | 0.40785 | 0.53634 | 0.61365 | 0.62953 | %
Variable: Final Energy
|  | 2019 | 2020 | 2030 | 2035 | 2040 | 2045 | 2050
| Min | 46.4952 | 46.4825 | 39.2846 | 33.1602 | 27.9565 | 25.9787 | 25.0965 | EJ/yr
| Max | 46.4952 | 46.4825 | 39.4636 | 34.1096 | 28.8901 | 27.2234 | 27.0308 | EJ/yr
|  | 12915.3437 | 12911.8159 | 10912.3976 | 9211.174 | 7765.7007 | 7216.3113 | 6971.2556 | TWh
|  | 12915.3437 | 12911.8159 | 10962.1199 | 9474.8965 | 8025.0342 | 7562.0616 | 7508.5616 | TWh
Variable: Hydrogen production¦Final Energy¦Share
|  | 2019 | 2020 | 2030 | 2035 | 2040 | 2045 | 2050
| Min | 0.11227 | 0.13145 | 1.5989 | 3.2805 | 5.558 | 8.3146 | 11.3482 | EJ/yr
| Max | 0.11227 | 0.13145 | 1.7982 | 4.2421 | 7.7382 | 11.8736 | 16.8471 | EJ/yr
|  | 0.0011227 | 0.0013145 | 0.015989 | 0.032805 | 0.05558 | 0.083146 | 0.11348 | %
|  | 0.0011227 | 0.0013145 | 0.017982 | 0.042421 | 0.077382 | 0.11874 | 0.16847 | %

## FEC
Data from the Draft TYNDP scenario report
Final Energy Consumption Target Compliance (TWh)
Final Energy Consumption* (TWh)
| Energy Carriers | 2015 | 2019 | 2030 |  |  |  |  | 2040 |  |  |  |  | 2050
|  | EC IA | EC IA | TYNDP NT | TYNDP NT+ | EC IA | EC FF55 | EC RePowerEU | TYNDP NT | TYNDP NT+ | TYNDP DE | TYNDP GA | EC IA S3 | TYNDP DE | TYNDP GA | EC IA S3
| Electricity | 2449.9645 | 2478.8455 | 2951.6553 | 2951.6553 | 2792.5151 | 2786.5157 | 2740.6369 | 3437.5486 | 3437.5486 | 3634.5077 | 3237.2655 | 3333.9053 | 3931.806 | 3484.8668 | 3694.9163
| Hydrogen | 0 | 0 | 251.0784 | 251.0784 | 38.2211 | 54.5756 | 242.4932 | 633.1109 | 633.1109 | 592.2242 | 1195.0055 | 395.5793 | 823.8609 | 1604.9839 | 660.9374
| Methane | 2294.9583 | 2368.8223 | 1720.0295 | 1720.0295 | 1185.9367 | 1643.1243 | 875.4319 | 966.7135 | 966.7135 | 1122.2783 | 1397.0236 | 466.3509 | 629.0686 | 801.0665 | 6.5441
| Liquids | 4339.5784 | 4505.6569 | 2816.3221 | 2051.1657 | 3249.6227 | 2972.7482 | 3037.2464 | 1122.1211 | 1077.4157 | 1343.6498 | 1526.861 | 1138.0736 | 511.1416 | 588.2964 | 356.1166
| Renewables | 1085.2054 | 1265.79 | 1298.5761 | 1298.5761 | 977.3434 | 1030.4903 | 1140.3945 | 1254.2443 | 1254.2443 | 464.7905 | 538.7014 | 1080.2884 | 291.1884 | 432.3177 | 920.6093
| Solid | 278.8599 | 235.7146 | 210.479 | 132.9468 | 150.5101 | 113.5374 | 154.5721 | 36.7751 | 35.1469 | 59.7928 | 84.4225 | 22.4704 | 32.6264 | 31.1619 | 1.6918
| Synthetic fuels | 0 | 0 | 39.3097 | 39.3097 | 8.0987 | 42.6215 | 40.6422 | 328.3209 | 328.3209 |  |  | 160.3033 |  |  | 449.4323
| District Heating | 524.947 | 534.4105 | 373 | 373.424 | 474.3534 | 0 | 0 | 493 | 493.2843 | 664.718 | 606.5541 | 429.2112 | 597.2522 | 515.805 | 359.322
| FEC | 10973.5134 | 11389.2398 | 9660.4502 | 8818.1856 | 8876.6012 | 8643.6129 | 8231.4172 | 8271.8344 | 8225.7851 | 7881.9613 | 8585.8336 | 7026.1823 | 6816.944 | 7458.4983 | 6449.5698
European Commission values) | From Figure 32 (calculated) | 22.33% | 21.76% | 30.55% | 33.47% | 31.46% | 32.24% | 33.29% | 41.56% | 41.79% | 46.11% | 37.7% | 47.45% | 57.68% | 46.72% | 57.29%
| From Table 10: |  |  |  |  | 33% | [6 empty] | 51% |  |  | 62%
* FEC for the EC studies excludes energy branch, international shipping, ambient heat, non-energy and includes aviation. TYNDP analysis follows the same approach, additionally part of energy branch is included (as some are reported under industry)
TYNDP NT+ figures are adjusted according to the consulted 'gap filling methodology'. Solid is only coal, liquids represent only oil and renewables includes; biofuels, biogas, geothermal, excess heat, biomethane, waste and other renewables
Hydrogen includes ammonia production for TYNDP scenarios
DE & GA scenarios synfuels and biomethane are distributed under methane and liquid demands, Solid includes coal and renewables only includes some biofuels and biomass
Ambient heat from heat pumps in District Heating is excluded for National Trends
Data from the EC's 2040 Impact Assessment
Annex 8, Figure 32: Final Energy Consumption by fuel, 2015-2050
|  | Electricity | Hydrogen | Gas | Oil | Renewables | Coal | Synthetic fuels | Distric Heating | Total (Mtoe) |  | Electricity (TWh) | Total (TWh) | Electrification %
2015 |  | 210.659 | 0 | 197.3309 | 373.1366 | 93.3109 | 23.9776 | 0 | 45.1373 | 943.5523 |  | 2449.9645 | 10973.5134 | 22.33%
2019 |  | 213.1424 | 0 | 203.6821 | 387.4168 | 108.8383 | 20.2678 | 0 | 45.951 | 979.2984 |  | 2478.8455 | 11389.2398 | 21.76%
2030 |  | 240.1131 | 3.2864 | 101.9722 | 279.4173 | 84.0364 | 12.9415 | 0.69637 | 40.787 | 763.2503 |  | 2792.5151 | 8876.6012 | 31.46%
2040 | S1 | 279.2589 | 26.119 | 73.9978 | 110.8638 | 87.5078 | 3.0053 | 5.3911 | 37.6128 | 623.7564 |  | 3247.7815 | 7254.2875 | 44.77%
| S2 | 285.7383 | 30.5742 | 54.1224 | 103.9726 | 92.6766 | 2.3064 | 8.1697 | 37.8443 | 615.4045 |  | 3323.1368 | 7157.1545 | 46.43%
| S3 | 286.6643 | 34.0137 | 40.099 | 97.8567 | 92.8881 | 1.9321 | 13.7836 | 36.9055 | 604.1429 |  | 3333.9053 | 7026.1823 | 47.45%
| LIFE | 277.3117 | 30.6887 | 51.4112 | 95.7286 | 88.8656 | 2.0927 | 9.4699 | 35.7449 | 591.3132 |  | 3225.1354 | 6876.973 | 46.9%
2050 | S1 | 315.1348 | 53.6501 | 0.5986 | 35.3095 | 81.7131 | 0.13313 | 43.4186 | 30.3391 | 560.297 |  | 3665.0182 | 6516.2539 | 56.24%
| S2 | 317.8281 | 56.4517 | 0.6064 | 31.1294 | 80.3641 | 0.13534 | 42.0953 | 31.0376 | 559.648 |  | 3696.3414 | 6508.7063 | 56.79%
| S3 | 317.7056 | 56.8304 | 0.56269 | 30.6205 | 79.1581 | 0.14547 | 38.6442 | 30.8961 | 554.5632 |  | 3694.9163 | 6449.5698 | 57.29%
| LIFE | 301.2007 | 52.5645 | 7.0765 | 26.4203 | 74.4686 | 0.11944 | 33.4848 | 28.6818 | 524.0166 |  | 3502.9639 | 6094.313 | 57.48%
Source: PRIMES.
IA, Table 10
|  | 2030 | 2040 | 2050

## Emissions and GHG budget
Original Data from the Draft TYNDP scenario report
Figure 46: Cumulative GHG emissions Distributed Energy, EU27 (Mt)
|  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| CO2 Emissions | [10 empty] | 1598 | 3103 | 4516 | 5837 | 7066 | 8203 | 9248 | 10201 | 11061 | 11829 | 12505 | 13129 | 13701 | 14221 | 14688 | 15103 | 15465 | 15776 | 16034 | 16240 | 16394
| Other Emissions | [10 empty] | 541 | 1063 | 1567 | 2053 | 2519 | 2967 | 3397 | 3808 | 4200 | 4574 | 4929 | 5279 | 5624 | 5964 | 6299 | 6628 | 6952 | 7272 | 7586 | 7895 | 8198
| LULUCF | [10 empty] | -240 | -487 | -743 | -1006 | -1276 | -1555 | -1841 | -2135 | -2436 | -2745 | -3062 | -3381 | -3701 | -4023 | -4346 | -4671 | -4998 | -5326 | -5656 | -5987 | -6320
| CCS | [10 empty] | -60 | -126 | -198 | -276 | -360 | -450 | -546 | -648 | -756 | -870 | -990 | -1113 | -1239 | -1368 | -1500 | -1635 | -1773 | -1914 | -2058 | -2205 | -2355
| Carbon budget cumulative 2030 - 2050 | [10 empty] | 1866 | 3553 | 5143 | 6608 | 7949 | 9166 | 10258 | 11226 | 12069 | 12788 | 13382 | 13915 | 14385 | 14793 | 15140 | 15424 | 15647 | 15807 | 15906 | 15942 | 15917
| Carbon budget target (value in 2022) | [10 empty] | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000
Figure 47: Cumulative GHG emissions Global Ambition, EU27 (Mt)
|  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| CO2 Emissions | [10 empty] | 1597.5634 | 3113.0507 | 4546.4619 | 5897.7969 | 7167.0558 | 8354.2386 | 9459.3453 | 10482.3759 | 11423.3304 | 12282.2087 | 13059.0109 | 13775.7778 | 14432.5095 | 15029.2058 | 15565.8669 | 16042.4926 | 16459.0831 | 16815.6383 | 17112.1582 | 17348.6428 | 17525.0921
| Other Emissions | [10 empty] | 541 | 1063.42 | 1567.26 | 2052.52 | 2519.2 | 2967.3 | 3396.82 | 3807.76 | 4200.12 | 4573.9 | 4929.1 | 5279.16 | 5624.08 | 5963.86 | 6298.5 | 6628 | 6952.36 | 7271.58 | 7585.66 | 7894.6 | 8198.4
| LULUCF | [10 empty] | -239.8 | -487.32 | -742.56 | -1005.52 | -1276.2 | -1554.6 | -1840.72 | -2134.56 | -2436.12 | -2745.4 | -3062.4 | -3381 | -3701.2 | -4023 | -4346.4 | -4671.4 | -4998 | -5326.2 | -5656 | -5987.4 | -6320.4
| CCS | [10 empty] | -47.945 | -95.89 | -156.835 | -253.1619 | -384.8706 | -551.9613 | -754.4338 | -992.2881 | -1265.5244 | -1574.1425 | -1918.1425 | -2272.9425 | -2638.5425 | -3014.9425 | -3402.1425 | -3800.1425 | -4200.1425 | -4600.1425 | -5000.1425 | -5400.1425 | -5800.1425
| Carbon budget cumulative 2030 - 2050 | [10 empty] | 1850.8184 | 3593.2607 | 5214.3269 | 6691.635 | 8025.1852 | 9214.9774 | 10261.0116 | 11163.2878 | 11921.806 | 12536.5662 | 13007.5684 | 13400.9953 | 13716.847 | 13955.1233 | 14115.8244 | 14198.9501 | 14213.3006 | 14160.8758 | 14041.6757 | 13855.7003 | 13602.9496
| Carbon budget target (value in 2022) | [10 empty] | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000
Adjustments to original budget
| Distributed Energy Annual Emissions | [31 empty] | 2030-2050 GHG budget | Source
| CO2 Emissions* | [10 empty] | 1598 | 1505 | 1413 | 1321 | 1229 | 1137 | 1045 | 953 | 860 | 768 | 676 | 624 | 572 | 520 | 467 | 415 | 362 | 311 | 258 | 206 | 154 | 16394
| Other Emissions | [10 empty] | 541 | 522 | 504 | 486 | 466 | 448 | 430 | 411 | 392 | 374 | 355 | 350 | 345 | 340 | 335 | 329 | 324 | 320 | 314 | 309 | 303 | 8198
| LULUCF | [10 empty] | -240 | -247 | -256 | -263 | -270 | -279 | -286 | -294 | -301 | -309 | -317 | -319 | -320 | -322 | -323 | -325 | -327 | -328 | -330 | -331 | -333 | -6320
| CCS | [10 empty] | -60 | -66 | -72 | -78 | -84 | -90 | -96 | -102 | -108 | -114 | -120 | -123 | -126 | -129 | -132 | -135 | -138 | -141 | -144 | -147 | -150 | -2355
| Annual net emissions (original) | [10 empty] | 1839 | 1714 | 1589 | 1466 | 1341 | 1216 | 1093 | 968 | 843 | 719 | 594 | 532 | 471 | 409 | 347 | 284 | 221 | 162 | 98 | 37 | -26 | 15917
| Excluded gross* emissions from mineral production | [10 empty] | 108 | 106.3 | 104.6 | 102.9 | 101.2 | 99.5 | 97.8 | 96.1 | 94.4 | 92.7 | 91 | 91.4 | 91.8 | 92.2 | 92.6 | 93 | 93.4 | 93.8 | 94.2 | 94.6 | 95 | 2026.5
| Annual net emissions (adjusted estimate) | [10 empty] | 1947 | 1820.3 | 1693.6 | 1568.9 | 1442.2 | 1315.5 | 1190.8 | 1064.1 | 937.4 | 811.7 | 685 | 623.4 | 562.8 | 501.2 | 439.6 | 377 | 314.4 | 255.8 | 192.2 | 131.6 | 69 | 17943.5
[12 empty] | #REF! | [9 empty] | #REF! | [9 empty] | #REF!
Global Amibition Annual Emissions
| CO2 Emissions* | [10 empty] | 1597.5634 | 1515.4873 | 1433.4112 | 1351.335 | 1269.2589 | 1187.1828 | 1105.1067 | 1023.0306 | 940.9545 | 858.8783 | 776.8022 | 716.7669 | 656.7316 | 596.6963 | 536.6611 | 476.6258 | 416.5905 | 356.5552 | 296.5199 | 236.4846 | 176.4493 | 17525.0921
| Other Emissions | [10 empty] | 541 | 522.42 | 503.84 | 485.26 | 466.68 | 448.1 | 429.52 | 410.94 | 392.36 | 373.78 | 355.2 | 350.06 | 344.92 | 339.78 | 334.64 | 329.5 | 324.36 | 319.22 | 314.08 | 308.94 | 303.8 | 8198.4
| LULUCF | [10 empty] | -239.8 | -247.52 | -255.24 | -262.96 | -270.68 | -278.4 | -286.12 | -293.84 | -301.56 | -309.28 | -317 | -318.6 | -320.2 | -321.8 | -323.4 | -325 | -326.6 | -328.2 | -329.8 | -331.4 | -333 | -6320.4
| CCS | [10 empty] | -47.945 | -47.945 | -60.945 | -96.3269 | -131.7088 | -167.0906 | -202.4725 | -237.8544 | -273.2363 | -308.6181 | -344 | -354.8 | -365.6 | -376.4 | -387.2 | -398 | -400 | -400 | -400 | -400 | -400 | -5800.1425
| Annual net emissions (original) | [10 empty] | 1850.8184 | 1742.4423 | 1621.0662 | 1477.3082 | 1333.5502 | 1189.7922 | 1046.0342 | 902.2762 | 758.5182 | 614.7602 | 471.0022 | 393.4269 | 315.8516 | 238.2763 | 160.7011 | 83.1258 | 14.3505 | -52.4248 | -119.2001 | -185.9754 | -252.7507 | 13602.9496
| CCU capacity counted as CCS | [10 empty] | 3.6904 | -16.1778 | -23.046 | -7.5323 | 7.9814 | 23.495 | 39.0087 | 54.5224 | 70.036 | 85.5497 | 101.0634 | 105.5916 | 110.1199 | 114.6481 | 119.1763 | 123.7045 | 119.4328 | 113.161 | 106.8892 | 100.6175 | 94.4469 | 1446.3788
| Ommited gross* emissions from mineral products (a) | [10 empty] | 108 | 106.3 | 104.6 | 102.9 | 101.2 | 99.5 | 97.8 | 96.1 | 94.4 | 92.7 | 91 | 91.4 | 91.8 | 92.2 | 92.6 | 93 | 93.4 | 93.8 | 94.2 | 94.6 | 95 | 2026.5
| Correction for CCS volumes contained in EC's 2040 Impact Assessment | [10 empty] | 1962.5088 | 1832.5645 | 1702.6202 | 1572.6759 | 1442.7315 | 1312.7872 | 1182.8429 | 1052.8986 | 922.9543 | 793.0099 | 663.0656 | 590.4185 | 517.7715 | 445.1244 | 372.4774 | 299.8303 | 227.1832 | 154.5362 | 81.8891 | 9.2421 | -63.3038 | 17075.8284
[12 empty] | #REF! | [9 empty] | #REF! | [9 empty] | #REF!
| Adjustment to CCS capacity (from EC 2040 IA Scenario 3) | [32 empty] | Source
| Total capture volumes from EC 2040 Impact Assessment, capped at 400 Mt (labelled as CCS above) | [10 empty] | -47.945 | -47.945 | -60.945 | -96.3269 | -131.7088 | -167.0906 | -202.4725 | -237.8544 | -273.2363 | -308.6181 | -344 | -354.8 | -365.6 | -376.4 | -387.2 | -398 | -400 | -400 | -400 | -400 | -400 | -5800.1425
| Underground storage | [10 empty] | -44.2546 | -64.1228 | -83.991 | -103.8592 | -123.7274 | -143.5956 | -163.4638 | -183.332 | -203.2002 | -223.0684 | -242.9366 | -243.3366 | -243.7366 | -244.1366 | -244.5366 | -244.9366 | -245.3366 | -245.7366 | -246.1366 | -246.5366 | -246.8354 | -4030.8163 | Annex 8, Figure 10 (Carbon captured by end application)
| Materials | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.8718 | -11.7435 | -17.6153 | -23.4871 | -29.3588 | -35.2306 | -41.1024 | -46.9742 | -52.8459 | -58.7177 | -322.9473 | Annex 8, Figure 10 (Carbon captured by end application)
| Synthetic fuels | [10 empty] | -5.8541 | -15.3465 | -24.8389 | -34.3313 | -43.8237 | -53.3161 | -62.8085 | -72.3009 | -81.7933 | -91.2857 | -100.7781 | -105.3749 | -109.9716 | -114.5683 | -119.1651 | -123.7618 | -128.3586 | -132.9553 | -137.5521 | -142.1488 | -146.7455 | -1847.0792 | Annex 8, Figure 10 (Carbon captured by end application)
| Net adjustment to carbon budget | [10 empty] | 3.6904 | -16.1778 | -23.046 | -7.5323 | 7.9814 | 23.495 | 39.0087 | 54.5224 | 70.036 | 85.5497 | 101.0634 | 105.5916 | 110.1199 | 114.6481 | 119.1763 | 123.7045 | 119.4328 | 113.161 | 106.8892 | 100.6175 | 94.4469 | 1446.3788
Adjustment for mineral products (from EC 2040 IA Scenario 3)
| Net Emissions | [10 empty] | 76 | 69.1 | 62.2 | 55.3 | 48.4 | 41.5 | 34.6 | 27.7 | 20.8 | 13.9 | 7 | 6.9 | 6.8 | 6.7 | 6.6 | 6.5 | 6.4 | 6.3 | 6.2 | 6.1 | 6 | 521 | Annex 8, Figure 53 (Process CO2 emissions in industry by sector)
| Captured (& stored) | [10 empty] | 32 | 37.2 | 42.4 | 47.6 | 52.8 | 58 | 63.2 | 68.4 | 73.6 | 78.8 | 84 | 84.5 | 85 | 85.5 | 86 | 86.5 | 87 | 87.5 | 88 | 88.5 | 89 | 1505.5 | Annex 8, Figure 54: Carbon captured in industrial processes.
| Gross Emissions | [10 empty] | 108 | 106.3 | 104.6 | 102.9 | 101.2 | 99.5 | 97.8 | 96.1 | 94.4 | 92.7 | 91 | 91.4 | 91.8 | 92.2 | 92.6 | 93 | 93.4 | 93.8 | 94.2 | 94.6 | 95 | 2026.5
(a) As CCS volumes are included as a negative line in the GHG budget calculation (which includes CCS from industrial processes), CO2 emissions from non-metallic mineral production are also presented in gross terms (i.e. pre-capture) for consistency

## Carbon capture
Data from the Draft TYNDP scenario report
Figure 39: Biogenic CO2 captured & used for synthetic fuels, EU27 (mio tonnes)
| Distributed Energy |  | Global Ambition
| 2040 | 2050 | 2040 | 2050
E-Diesel | 53.28 | 49.171 | 39.377 | 46.944
E-Kerosene | 50.0136 | 46.3934 | 36.9365 | 44.18
Synthetic methane | 27.0732 | 60.7166 | 24.0941 | 56.8555
Potential | 136.6 | 187.3 | 144.1 | 222.3
Total (identified) | 130.3668 | 156.2809 | 100.4076 | 147.9795
Figure 45: Carbon Capture and Storage, EU27 (Mt)
| National Trends+ |  | Distributed Energy |  | Global Ambition
| 2030 | 2040 | 2040 | 2050 | 2040 | 2050*
| 47.245 | 344 | 120 | 150 | 344 | 452
*Capped at 400 Mt in the grenhouse gas budget assessment so as not to exceed fossil emissions
| National Trends+ |  | Distributed Energy |  | Global Ambition
| 2030 | 2040* | 2040 | 2050 | 2040 | 2050*
CCUS (CCU levels based on e-fuel production only) | 47.245 | 444.4076 | 250.3668 | 306.2809 | 444.4076 | 547.9795
CCUS (CCU levels based on biogenic capture potential) | 47.245 | 488.1 | 256.6 | 337.3 | 488.1 | 622.3
*As CCS assumed the same between GA and NT+, CCU assumed the same
Data from the EC's 2040 Impact Assessment
Figure 2: Carbon removals by source and use
| 2030 | 2040 |  |  |  | 2050
|  | S1 | S2 | S3 | LIFE | S1 | S2 | S3 | LIFE
Removals | -4.4081 | -3.9907 | -48.8221 | -74.6277 | -27 | -122.7296 | -116.8713 | -114.9858 | -41.6212
Power Gen. (BECCS) | -4.4081 | -3.9907 | -33.9478 | -32.6404 | -27.0468 | -58.0264 | -59.2064 | -56.2182 | -36.7522
DACCS Underground | 0 | -1.6275e-07 | -14.8743 | -41.9874 | 0 | -58.7685 | -51.7303 | -53.1737 | 0
DACCS in Materials | 0 | 0 | 0 | 0 | 0 | -4.4556 | -4.4787 | -4.165 | -3.0814
Biogenic in Materials | 0 | 0 | 0 | 0 | 0 | -1.4791 | -1.4559 | -1.4289 | -1.7876
Figure 9: Carbon captured by source
| 2030 | 2040 |  |  |  | 2050
|  | S1 | S2 | S3 | LIFE | S1 | S2 | S3 | LIFE
Captured | 50.1087 | 85.6749 | 222.1391 | 343.7147 | 277.77 | 469.411 | 459.1699 | 452.2986 | 347.5516
Power Gen. (FF) | 4.3843 | 25.9751 | 41.2573 | 31.5856 | 46.1803 | 57.9508 | 63.4044 | 54.5186 | 64.2588
Ind. Processes | 41.2264 | 36.9855 | 123.1124 | 136.7233 | 124.4079 | 123.552 | 123.5495 | 136.0486 | 108.6095
DACC | 1.35e-15 | 11.5755 | 20.277 | 120.4893 | 58.9127 | 196.0819 | 181.1106 | 175.3307 | 106.4042
Biogenic | 0.089844 | 7.1482 | 3.5446 | 22.2762 | 21.2223 | 33.7999 | 31.899 | 30.1825 | 31.5269
Power Gen. (BECCS) | 4.4081 | 3.9907 | 33.9478 | 32.6404 | 27.0468 | 58.0264 | 59.2064 | 56.2182 | 36.7522
Figure 10: Carbon Captured by end application
| 2030 | 2040 |  |  |  |  | 2050
|  | S1 | S2 | S3 | LIFE |  | S1 | S2 | S3 | LIFE | Carbon Budget Classification
Underground Storage | 44.2546 | 42.2718 | 146.8212 | 242.9366 | 198 |  | 246.2263 | 245.7741 | 246.8354 | 164.5099 | CCS
Feedstock for Synthetic Fuels | 5.8541 | 43.4031 | 75.3179 | 100.7781 | 80 |  | 165.1787 | 155.3447 | 146.7455 | 133.0621 | CCU
Storage in Materials | 0 | 0 | 0 | 0 | 0 |  | 58.006 | 58.0511 | 58.7177 | 49.9796 | CCU (depends on durability; some storage in durable materials included as carbon removals in the EC's impact assessment )
Total Carbon Capture | 50.1087 | 85.6749 | 222.1391 | 343.7147 | 278 | 0 | 469.411 | 459.1699 | 452.2986 | 347.5516 | CCUS
Source: PRIMES.
Comparison of CCS and CCU levels in the 2040 Impact Assessment and draft scenarios report
|  | CCS (underground storage) | CCS (materials) | CCU (synthetic fuels) | Labelled as CCS (Fig 45) | Additional CCU for synthetic fuels (Fig 39) | Additional CCU potential (Fig 39)
2040 | GA |  |  |  | 344 | 100.4076 | 43.6924
| NT+ |  |  |  | 344 | 100.4076 | 43.6924
| EC S3 | 242.9366 | 0 | 100.7781
2050 | GA |  |  |  | 452 | 147.9795 | 74.3205
| EC S3 | 246.8354 | 58.7177 | 146.7455

## Power Capacity
Data from the Draft TYNDP scenario report
Figure 25: Power capacity mix, EU27 (GW)
| Scenario (EU27 - GW) | Year | Wind Onshore | Wind Offshore | Solar | Biofuels | Small Scale RES | Hydro and pumped storage | Nuclear | Coal + Other fossil | Oil | Methane | CHP and Small Thermal | Hydrogen | Battery | Demand shedding | RES | Fossil Fuel | Nuclear |  | RES (excl. hydrogen & methane) | Wind + solar |  | Fossil (excl. gas fuel switching)
| National Trends+ | 2030 | 366.56 | 101 | 659.83 | 8 | 37 | 164 | 95 | 24 | 6 | 171 | 38 | 11 | 46 | 76 | 1363.5963 | 222.7937 | 95 |  | 1336.39 | 1127.39 |  | 239
|  | 2040 | 533.23 | 269 | 1133.85 | 3 | 31 | 173 | 98 | 8 | 2 | 138 | 24 | 46 | 218 | 121 | 2231.211 | 129.869 | 98 |  | 2143.08 | 1936.08 |  | 172
| Distributed Energy | 2040 | 628.0316 | 296.5177 | 1399.3652 | 4 | 31 | 173 | 74 | 8 | 1 | 134 | 24 | 46 | 663 | 50 | 2621.2766 | 123.6379 | 74 |  | 2531.9145 | 2323.9145 |  | 167
|  | 2050 | 807.5962 | 391.4414 | 2008.0928 | 3 | 29 | 180 | 47 | 4 | 1 | 106 | 18 | 67 | 956 | 54 | 3588.9239 | 26.1541 | 47 |  | 3419.1304 | 3207.1304 |  | 129
| Global Ambition | 2040 | 616.6115 | 292.183 | 1262.1025 | 4 | 31 | 173 | 115 | 8 | 1 | 134 | 24 | 46 | 663 | 50 | 2471.9004 | 119.9966 | 115 |  | 2378.897 | 2170.897 |  | 167
|  | 2050 | 804.0442 | 407.4571 | 1670.1319 | 3 | 29 | 180 | 105 | 4 | 1 | 106 | 18 | 67 | 956 | 54 | 3262.3579 | 27.2882 | 105 |  | 3093.6332 | 2881.6332 |  | 129
[17 empty] | Scenario (EU27 - TWh) | Year | share of renewable CH4 | share of renewable H2 | renewable CH4 | renewable H2 | nonrenewable CH4 | nonrenewable H2
[17 empty] | National Trends+ | 2030 | 11.59% | 67.11% | 19.8241 | 7.3822 | 151.1759 | 3.6178
[18 empty] | 2040 | 35.91% | 83.85% | 49.5596 | 38.5714 | 88.4404 | 7.4286
[17 empty] | Distributed Energy | 2040 | 37.18% | 85.97% | 49.8175 | 39.5447 | 84.1825 | 6.4553
[18 empty] | 2050 | 99.95% | 95.29% | 105.9476 | 63.8459 | 0 | 3.1541
[17 empty] | Global Ambition | 2040 | 39.8% | 86.23% | 53.3361 | 39.6674 | 80.6639 | 6.3326
[18 empty] | 2050 | 100% | 93.6% | 106.0129 | 62.7118 | 0 | 4.2882
| Scenario (EU27 - GW) | Year | Wind Onshore | Wind Offshore | Solar | Biofuels | Small Scale RES | Hydro and pumped storage | Nuclear | Coal + Other fossil | Oil | Methane | CHP and Small Thermal | Hydrogen | Battery | Demand shedding
| National Trends+ | 2030 | 352 | 101 | 638 | 8 | 37 | 164 | 95 | 24 | 6 | 171 | 38 | 11 | 46 | 76
|  | 2040 | 496 | 269 | 1078 | 3 | 31 | 173 | 98 | 8 | 2 | 138 | 24 | 46 | 218 | 121
| Distributed Energy | 2040 | 639 | 190 | 1406 | 4 | 31 | 173 | 74 | 8 | 1 | 134 | 24 | 46 | 663 | 50
|  | 2050 | 830 | 219 | 2035 | 3 | 29 | 180 | 47 | 4 | 1 | 106 | 18 | 67 | 956 | 54
| Global Ambition | 2040 | 617 | 190 | 1262 | 4 | 31 | 173 | 115 | 8 | 1 | 134 | 24 | 46 | 663 | 50
|  | 2050 | 811 | 225 | 1676 | 3 | 29 | 180 | 105 | 4 | 1 | 106 | 18 | 67 | 956 | 54
Data from the Advisory Board's filtered 2040 scenarios
Variable: | Wind Onshore | Wind Offshore | Solar | Biofuels | Small Scale RES | Hydro and pumped storage | renewable CH4 | renewable H2 | RES | Wind + Solar |  | Coal | Oil | Gas
2020 | 158.9974 | 13.7788 | 142.014 | 28.3452 |  | 150.8251 |  |  | 493.9605 | 314.7902 |  | 111.0318 | 27.6929 | 241.0525 |  | 379.7772
| 158.9974 | 13.7788 | 142.014 | 28.3452 |  | 150.8251 |  |  | 493.9605 | 314.7902 |  | 111.0318 | 27.6929 | 241.0525 |  | 379.7772
2030 | 346.4916 | 37.9848 | 882.4559 | 30.6593 |  | 161.9512 |  |  | 1459.5428 | 1266.9323 |  | 17.1666 | 5.5112 | 146.393 |  | 169.0708
| 378.3731 | 43.152 | 948.7986 | 30.968 |  | 163.1029 |  |  | 1564.3946 | 1370.3237 |  | 18.076 | 5.5112 | 174.345 |  | 197.9322
2040 | 609.5651 | 98.9981 | 1709.0186 | 25.9757 |  | 161.6975 |  |  | 2605.255 | 2417.5818 |  | 0.0244 | 0.0008 | 20.5809 |  | 20.6061
| 697.1736 | 118.6212 | 2052.897 | 26.4892 |  | 163.8648 |  |  | 3059.0458 | 2868.6918 |  | 0.0312 | 0.0008 | 59.2294 |  | 59.2614
2050 | 761.8972 | 172.6991 | 1852.4343 | 16.1836 |  | 156.382 |  |  | 2959.5962 | 2787.0306 |  | 0.0117 | 0.0008 | 1.3719 |  | 1.3844
| 920.7718 | 205.613 | 2361.7237 | 16.6917 |  | 158.3824 |  |  | 3663.1826 | 3488.1085 |  | 0.0149 | 0.0008 | 8.8419 |  | 8.8576
Data from the EC's 2040 Impact Assessment
Figure 21: Net installed capacity by energy carrier, 2015-2050
|  | Fossil fuels | Hydrogen | Nuclear | Renewables
2015 |  | 385.038 | 0 | 112.1467 | 370.7971
2020 |  | 346.8048 | 0 | 107.4575 | 477.5064
2030 |  | 238.4782 | 0 | 93.6072 | 1285.2276
2040 | S1 | 171.7119 | 0 | 70.6494 | 1939.0904
| S2 | 163.8416 | 0 | 70.6494 | 2142.3573
| S3 | 156.4148 | 0 | 70.6494 | 2297.8543
| LIFE | 157.4051 | 0 | 70.6495 | 2100.3897
2050 | S1 | 142.7018 | 0 | 70.5432 | 3047.6666
| S2 | 143.7151 | 0 | 70.5432 | 3042.1857
| S3 | 141.9441 | 0 | 70.5432 | 3026.6318
| LIFE | 143.2518 | 0 | 70.5433 | 2762.8386
Source: PRIMES.
Note on F25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: DRES from spain missing for all

## H2 demand & supply
Data from the Draft TYNDP scenario report
Figure 10: Hydrogen demand per sector, EU27 (TWh)
|  | Reference | National Trends + |  | Distributed Energy |  | Global Ambition
|  | 2019 | 2030 | 2040 | 2040 | 2050 | 2040 | 2050
| Residential&Tertiary | 0 | 10.3552 | 72.1385 | 74.7125 | 108.5529 | 346.7138 | 390.5372
| Transport | 0 | 54.6566 | 181.2045 | 138.6199 | 187.0965 | 281.7218 | 448.4371
| Industry | 0 | 231.7503 | 431.2976 | 375.6697 | 522.659 | 554.8759 | 741.2519
| Agriculture | 0 | 0.34139 | 2.0153 | 3.222 | 5.5526 | 11.6939 | 24.7577
| Power Generation | 0 | 15.8629 | 212.8526 | 94.0539 | 81.8506 | 88.2969 | 70.0102
| Non-energy use | 0 | 91.0307 | 244.5439 | 308.4 | 402.1 | 277 | 407.3
| Others | 0 | 0 | 0 | 0 | 0 | 0 | 0
| e-fuels | 0 | 76.8112 | 529.5681 | 642.6343 | 813.2356 | 499.693 | 766.893
| International maritime bunkers | 0 | 2.6714 | 14.5468 | 113.1205 | 210.7735 | 128.6939 | 264.9039
| Total | 0 | 483.4796 | 1688.1673 | 1750.4329 | 2331.8206 | 2188.6894 | 3114.091
Reference is from the Energy Transition Model - ETM
Coke ovens, blast furnaces, refneries are included in the Industry sector.
For Distibuted Energy and Global Ambition scenarios, Others usually include the construction sector, the army, the hydrological sector.
Power Generation includes electricity generation and district heating
Figure 54: Benchmark Hydrogen demand by sector, EU27 (TWh)
|  |  | Industry | International aviation | International shipping | Non-energy | Transport | e-fuels production | Residential and Tertiary | Agriculture | Other | Electricity generation and heat production | Sum
| 2040 | TYNDP GA | 554.8759 | 6.6012 | 128.6939 | 277 | 275.1206 | 499.693 | 346.7138 | 11.6939 | 0 | 88.2969 | 2188.6894
|  | TYNDP DE | 375.6697 | 4.2165 | 113.1205 | 308.4 | 134.4034 | 642.6343 | 74.7125 | 3.222 | 0 | 94.0539 | 1750.4329
|  | TYNDP NT+ | 377.7527 | 20.5129 | 14.5468 | 244.5439 | 160.6916 | 529.5681 | 72.1385 | 2.0153 |  | 172.1875 | 1593.9572
|  | EC IA S3 | 189.2716 | 5.0152 | 11.5252 | 52.0957 | 168.9448 | 581.4485 | not available | not available | 69.4723 | not available | 1077.7732
| 2050 | TYNDP GA | 741.2519 | 4.5254 | 264.9039 | 407.3 | 443.9118 | 766.893 | 390.5372 | 24.7577 | 0 | 70.0102 | 3114.091
|  | TYNDP DE | 522.659 | 6.4904 | 210.7735 | 402.1 | 180.6061 | 813.2356 | 108.5529 | 5.5526 | 0 | 81.8506 | 2331.8206
|  | EC IA S3 | 212.5021 | 29.0862 | 81.0253 | 376.7928 | 356.5412 | 867.4712 | not available | not available | 116.1694 | not available | 2039.5883
Industry sector excludes non-energy use (reported as a separate category).
For DE and GA, the industry sector includes refineries.
Transport excludes international aviation and international shipping (reported as separate categories).
For DE and GA, the "Other" category includes the construction sector, the army, the hydrological sector.
Figure 33: Hydrogen supply, EU27 (TWh)
|  |  | Current | NT+ |  | Distributed Energy |  | Global Ambition
|  |  | 2022 | 2030 | 2040 | 2040 | 2050 | 2040 | 2050
| Y | Undefined for generation* |  | 9.6511 | 174.1168
| L | Low carbon imports | 0 | 45.176 | 178.733 | 134.7553 | 111.0801 | 196.3275 | 191.5774
| Y | Renewable imports | 0 | 62.196 | 325.935 | 387.7538 | 317.7309 | 473.4945 | 545.5792
| Y | Ammonia imports | 0 | 59.835 | 205.797 | 135.4116 | 135.2922 | 153.6579 | 244.2455
| N | SMR (Grey) | 225.8441 | 9.1073 | 24.4648 | 22.2994 | 0 | 14.5359 | 0.1402
| L | SMR with CCS (Blue) | 0.49995 | 104.7638 | 69.4476 | 84.8964 | 0 | 74.9363 | 4.6927
| Y | P2G | 0.53328 | 192.8556 | 709.8142 | 959.0033 | 1795.4779 | 1163.0827 | 2082.5119
|  | Bi product | 22.5644
* The supply of H2 required for Power Generation wasn't explicitly modeled for the National Trends+ scenario. Therefore, it refered as 'undefined', meaning either import or domestic production.
|  | RES |  | 324.5377 | 1415.6631 | 1482.1687 | 2248.501 | 1790.2351 | 2872.3366
|  | Low carbon |  | 149.9398 | 248.1806 | 219.6517 | 111.0801 | 271.2638 | 196.2701
|  | Fossil |  | 9.1073 | 24.4648 | 22.2994 | 0 | 14.5359 | 0.1402
|  | SUM | 226.8773 | 483.5848 | 1688.3084 | 1724.1198 | 2359.5811 | 2076.0348 | 3068.7469
|  | RES-share |  | 67.11% | 83.85% | 85.97% | 95.29% | 86.23% | 93.6%
|  | Low carbon share |  | 31.01% | 14.7% | 12.74% | 4.708% | 13.07% | 6.396%
|  | fossil share |  | 1.883% | 1.449% | 1.293% | 0% | 0.7002% | 0.004569%
|  | Green (P2G) | 0.53328 | 192.8556 | 709.8142 | 959.0033 | 1795.4779 | 1163.0827 | 2082.5119
|  | Blue (SMR w/ CCS) | 0.49995 | 104.7638 | 69.4476 | 84.8964 | 0 | 74.9363 | 4.6927
|  | Grey (SMR) | 225.8441 | 9.1073 | 24.4648 | 22.2994 | 0 | 14.5359 | 0.1402
|  | Domestic | 249.4417 | 316.3778 | 977.8434 | 1066.1992 | 1795.4779 | 1252.5549 | 2087.3448
|  | Imports | 0 | 167.207 | 710.465 | 657.9207 | 564.1032 | 823.4799 | 981.4021
Data from the EC's 2040 Impact Assessment
Figure 32: Final Energy Consumption by fuel, 2015-2050
|  |  | Mtoe | [11 empty] | TWh
|  |  | Electricity | Hydrogen | Gas | Oil | Renewables | Coal | Synthetic fuels | Distric Heating |  |  |  |  | Electricity | Hydrogen | Gas | Oil | Renewables | Coal | Synthetic fuels | Distric Heating
| 2015 |  | 210.659 | 0 | 197.3309 | 373.1366 | 93.3109 | 23.9776 | 0 | 45.1373 |  |  | 2015 |  | 2449.9645 | 0 | 2294.9583 | 4339.5784 | 1085.2054 | 278.8599 | 0 | 524.947
| 2019 |  | 213.1424 | 0 | 203.6821 | 387.4168 | 108.8383 | 20.2678 | 0 | 45.951 |  |  | 2019 |  | 2478.8455 | 0 | 2368.8223 | 4505.6569 | 1265.79 | 235.7146 | 0 | 534.4105
| 2030 |  | 240.1131 | 3.2864 | 101.9722 | 279.4173 | 84.0364 | 12.9415 | 0.69637 | 40.787 |  |  | 2030 |  | 2792.5151 | 38.2211 | 1185.9367 | 3249.6227 | 977.3434 | 150.5101 | 8.0987 | 474.3534
| 2040 | S1 | 279.2589 | 26.119 | 73.9978 | 110.8638 | 87.5078 | 3.0053 | 5.3911 | 37.6128 |  |  | 2040 | S1 | 3247.7815 | 303.7638 | 860.5941 | 1289.3458 | 1017.7156 | 34.9519 | 62.6985 | 437.4364
|  | S2 | 285.7383 | 30.5742 | 54.1224 | 103.9726 | 92.6766 | 2.3064 | 8.1697 | 37.8443 |  |  |  | S2 | 3323.1368 | 355.5775 | 629.4436 | 1209.2008 | 1077.8289 | 26.8237 | 95.0141 | 440.1291
|  | S3 | 286.6643 | 34.0137 | 40.099 | 97.8567 | 92.8881 | 1.9321 | 13.7836 | 36.9055 |  |  |  | S3 | 3333.9053 | 395.5793 | 466.3509 | 1138.0736 | 1080.2884 | 22.4704 | 160.3033 | 429.2112
|  | LIFE | 277.3117 | 30.6887 | 51.4112 | 95.7286 | 88.8656 | 2.0927 | 9.4699 | 35.7449 |  |  |  | LIFE | 3225.1354 | 356.9091 | 597.9118 | 1113.3232 | 1033.5074 | 24.3381 | 110.135 | 415.7131
| 2050 | S1 | 315.1348 | 53.6501 | 0.5986 | 35.3095 | 81.7131 | 0.13313 | 43.4186 | 30.3391 |  |  | 2050 | S1 | 3665.0182 | 623.9505 | 6.9618 | 410.65 | 950.3231 | 1.5483 | 504.9586 | 352.8435
|  | S2 | 317.8281 | 56.4517 | 0.6064 | 31.1294 | 80.3641 | 0.13534 | 42.0953 | 31.0376 |  |  |  | S2 | 3696.3414 | 656.5328 | 7.0525 | 362.0351 | 934.6343 | 1.574 | 489.5686 | 360.9677
|  | S3 | 317.7056 | 56.8304 | 0.56269 | 30.6205 | 79.1581 | 0.14547 | 38.6442 | 30.8961 |  |  |  | S3 | 3694.9163 | 660.9374 | 6.5441 | 356.1166 | 920.6093 | 1.6918 | 449.4323 | 359.322
|  | LIFE | 301.2007 | 52.5645 | 7.0765 | 26.4203 | 74.4686 | 0.11944 | 33.4848 | 28.6818 |  |  |  | LIFE | 3502.9639 | 611.325 | 82.2992 | 307.2686 | 866.07 | 1.3891 | 389.428 | 333.5693
Note: Based on EED FEC scope
Figure 31: Consumption of hydrogen by sector, 2040 2050
Mtoe
|  |  | Industry | International aviation | International shipping | Non-energy | Transport | e-fuels production | Other |  | Total
| 2040 | S1 | 12.2917 | 0.092031 | 0.32283 | 4.4794 | 13.4597 | 15.7811 | 7.3557 |  | 53.7825
|  | S2 | 14.8127 | 0.27182 | 0.35249 | 4.4794 | 13.9786 | 29.054 | 5.79 |  | 68.739
|  | S3 | 16.2744 | 0.43123 | 0.99099 | 4.4794 | 14.5266 | 49.9956 | 5.9735 |  | 92.6718
|  | LIFE | 13.8514 | 0.21498 | 0.3039 | 4.4794 | 12.9268 | 27.6351 | 5.7865 |  | 65.198
| 2050 | S1 | 18.3025 | 0.65846 | 6.0619 | 32.1213 | 28.4981 | 72.6494 | 11.0478 |  | 169.3394
|  | S2 | 18.3512 | 1.5749 | 5.8031 | 32.1388 | 30.8638 | 69.7909 | 10.2757 |  | 168.7983
|  | S3 | 18.2719 | 2.501 | 6.9669 | 32.3984 | 30.657 | 74.5891 | 9.9888 |  | 175.373
|  | LIFE | 16.2348 | 1.3596 | 4.8469 | 28.9946 | 28.693 | 65.601 | 11.5352 |  | 157.2651
TWh
| 2040 | S1 | 142.9522 | 1.0703 | 3.7545 | 52.0957 | 156.5368 | 183.5339 | 85.5474 |  | 625.4907
|  | S2 | 172.2712 | 3.1613 | 4.0994 | 52.0957 | 162.5706 | 337.8983 | 67.3376 |  | 799.4341
|  | S3 | 189.2716 | 5.0152 | 11.5252 | 52.0957 | 168.9448 | 581.4485 | 69.4723 |  | 1077.7732
|  | LIFE | 161.0918 | 2.5002 | 3.5344 | 52.0957 | 150.3385 | 321.3956 | 67.2967 |  | 758.2529
| 2050 | S1 | 212.8585 | 7.6578 | 70.4994 | 373.5702 | 331.4331 | 844.9126 | 128.4855 |  | 1969.4171
|  | S2 | 213.4243 | 18.3166 | 67.4898 | 373.7745 | 358.9458 | 811.6676 | 119.506 |  | 1963.1247
|  | S3 | 212.5021 | 29.0862 | 81.0253 | 376.7928 | 356.5412 | 867.4712 | 116.1694 |  | 2039.5883
|  | LIFE | 188.8105 | 15.8127 | 56.37 | 337.2066 | 333.6994 | 762.9401 | 134.1538 |  | 1828.9931
Notes: Includes consumption for feedstocks
Table 6: Energy indicators
|  |  | 2030 | 2040 | 2050
| Hydrogen Production (renewable) (Mtoe) |  | 9 | 100 | 185
| Hydrogen Production (renewable) (TWh) |  | 104.67 | 1163 | 2151.55
| Hydrogen Production (renewable) (Mt) |  | 3.1404 | 34.8935 | 64.553
Figure 15: Net imports by energy vector, 2015-2050 (Mtoe)
[11 empty] | Hydrogen |  |  | Total
|  | Biomass | Oil | Electricity | Hydrogen | Natural gas | Others | Coal | Synthetic fuels |  | TWh | Mt
2040 | S1 | 10.0651 | 204.2735 | -0.29844 | 1.2917 | 121.6336 | 3.3791 | 6.7165 | 2.0925e-16 |  | 15.0229 | 0.45073 |  | 4036.3202
| S2 | 10.9018 | 186.896 | 0.26842 | 1.2917 | 90.0852 | 3.314 | 4.9435 | -6.3446e-17 |  | 15.0229 | 0.45073 |  | 3462.259
| S3 | 10.5521 | 177.5066 | 1.0665 | 1.2917 | 69.9313 | 3.3022 | 3.4616 | 3.1952e-17 |  | 15.0229 | 0.45073 |  | 3106.5143
| LIFE | 10.9689 | 175.1574 | 1.5407 | 1.2917 | 85.7209 | 3.305 | 4.1643 | 1.2386e-16 |  | 15.0229 | 0.45073 |  | 3281.3919
2050 | S1 | 12.7677 | 99.9844 | -1.0399 | 3.5708 | 38.5501 | 3.2661 | 1.9089 | -2.5424e-15 |  | 41.529 | 1.246 |  | 1849.2641
| S2 | 12.3893 | 97.5729 | -1.2301 | 3.5708 | 40.724 | 3.2639 | 1.9228 | -5.7119e-16 |  | 41.529 | 1.246 |  | 1840.0252
| S3 | 11.9525 | 97.6183 | -1.4865 | 3.5708 | 36.4717 | 3.2637 | 1.9366 | 2.1051e-16 |  | 41.529 | 1.246 |  | 1783.1961
| LIFE | 12.1582 | 89.4469 | -3.7045 | 3.5708 | 43.3805 | 3.2608 | 1.5134 | 9.208e-17 |  | 41.529 | 1.246 |  | 1740.1512
Data from the Advisory Board's filtered 2040 scenarios
Variable: Secondary Energy¦Hydrogen | [6 empty] | Variable: Secondary Energy _ Hydrogen _ Electricity | [6 empty] | Variable: Secondary Energy _ Hydrogen _ Fossil | [5 empty] | As TYNDP Figure 10 of hydrogen use by sector is equal to hydrogen supply, this is also a comparable benchmark for hydrogen demand (i.e. as a pre-transformation input)
total hydrogen production (EJ/yr) | [6 empty] | hydrogen production from electricity via electrolysis (EJ/yr) | [6 empty] | hydrogen production from fossil fuels (EJ/yr)
|  | 2030 | 2040 | 2050 |  |  |  |  | 2030 | 2040 | 2050 |  |  |  |  | 2030 | 2040 | 2050
|  | 0.631 | 1.6057 | 2.8508 | EJ |  |  |  | 0.3277 | 1.0509 | 1.9055 | EJ |  |  |  | 0.1567 | 0.0017 | 0.0015 | EJ
|  | 0.7064 | 2.2224 | 4.5539 | EJ |  |  |  | 0.4331 | 1.5324 | 3.1822 | EJ |  |  |  | 0.2227 | 0.0176 | 0.004 | EJ
|  | 175.2779 | 446.0281 | 791.8895 | TWh |  |  |  | 91.0279 | 291.9169 | 529.306 | TWh |  |  |  | 43.5278 | 0.47222 | 0.41667 | TWh
|  | 196.2224 | 617.3338 | 1264.9732 | TWh |  |  |  | 120.3057 | 425.667 | 883.9452 | TWh |  |  |  | 61.8612 | 4.8889 | 1.1111 | TWh
Variable: Final Energy - Hydrogen | [6 empty] | Variable: Final Energy _ Industry _ Hydrogen | [6 empty] | Variable: Final Energy _ Residential & commercial _ Hydrogen | [6 empty] | Variable: Final Energy _ Transportation _ Hydrogen
final energy consumption of hydrogen, excluding transmission/distribution losses (EJ/yr).
|  | 2030 | 2040 | 2050 |  |  |  |  | 2030 | 2040 | 2050 |  |  |  |  | 2030 | 2040 | 2050 |  |  |  |  | 2030 | 2040 | 2050
|  | 0.6136 | 1.3033 | 1.9611 | EJ |  |  |  | 0.5261 | 1.1091 | 1.7287 | EJ |  |  |  | 0 | 0 | 0 | EJ |  |  |  | 0.0875 | 0.1883 | 0.2324
|  | 0.6243 | 1.7529 | 2.7918 | EJ |  |  |  | 0.5358 | 1.5411 | 2.441 | EJ |  |  |  | 0 | 0 | 0 | EJ |  |  |  | 0.0891 | 0.1931 | 0.2396
|  | 170.4446 | 362.0281 | 544.7504 | TWh |  |  |  | 146.139 | 308.0836 | 480.1948 | TWh |  |  |  | 0 | 0 | 0 | TWh |  |  |  | 24.3056 | 52.3056 | 64.5556
|  | 173.4168 | 486.9171 | 775.5006 | TWh |  |  |  | 148.8335 | 428.0837 | 678.0561 | TWh |  |  |  | 0 | 0 | 0 | TWh |  |  |  | 24.75 | 53.6389 | 66.5556

## Electrolysis capacity
Data from the Draft TYNDP scenario report
Figure 34: | Electrolysis capacity, EU27 (GW)
| Scenario | Year | Market and hybrid RES | Dedicated RES
| National Trends | 2030 | 67 | 36.4 | 103.4
|  | 2040 | 213 | 93.1 | 306.1
| Distributed Energy | 2040 | 229 | 49 | 278
|  | 2050 | 440 | 77 | 517
| Global Ambition | 2040 | 235 | 55 | 290
|  | 2050 | 436 | 92 | 528
Data from the EC's 2040 Impact Assessment
Figure 23: Net installed storage and new fuels production capacity, 2015-2050
|  | Batteries | Pumped-hydro storage | Electrolyzers | Power-to-gas | Power-to-liquid
2015 |  | 0 | 44.72 | 0 | 0 | 0
2020 |  | 0.5 | 50.0564 | 0.00030107 | 0.00024421 | 0
2030 |  | 101.3797 | 70.8595 | 29.8722 | 0.80295 | 2.2611
2040 | S1 | 136.8567 | 76.3987 | 183.445 | 5.0759 | 18.2689
| S2 | 177.9246 | 76.3987 | 242.3525 | 11.4319 | 28.921
| S3 | 198.3057 | 76.3987 | 301.8588 | 20.6645 | 33.9837
| LIFE | 213.2085 | 76.5372 | 259.5236 | 11.7869 | 30.8447
2050 | S1 | 158.7768 | 79.1566 | 546.0035 | 61.0676 | 37.9871
| S2 | 160.0277 | 79.1566 | 543.1548 | 57.4209 | 35.9934
| S3 | 159.2687 | 79.1566 | 536.1866 | 50.4917 | 36.19
| LIFE | 159.7089 | 79.2951 | 483.7125 | 47.6703 | 33.6003
Source: PRIMES.